## Slide 1: Machine Learning in STEM 2023 Transmission Electron Microscopy
Gerd Duscher
gduscher@utk.edu
Professor: Materials Science
Director: Microscopy Facility

## Slide 2: What is that bright atom in the carbon nannohorn?
15o tilt
Si/C ratio = 0.7 with 144 atoms in analyzed area that gives 1 Si atom
C-K
Si-L3

## Slide 3: Instrument
A TEM is a stack of electro-optical
elements:
electron source
electrostatic lens
Accelerator
magnetic lens
magnetic and electrostatic deflectors
magnetic multipoles
Apertures
detectors (viewing screen, CCD)
sample holder

## Slide 4: Principle
condenser lens
objective lens
projector lens

## Slide 5: Sorting Electron by Energy

## Slide 6: Electron Energy-Loss Spectroscopy

## Slide 7: Why do microscopy with electrons
Small Wavelength
  You cannot resolve anything much smaller than your wavelength
Lenses
  The reason one does not have X-ray and neutron microscopes is that there is no lens for those particles
Atomic scale resolution is possible with electron and ion microscopy

## Slide 8: Understanding Size
How small is small ?

## Slide 9: Understanding Size
1 m
Source: CERN

## Slide 10: Understanding Size
10 cm
Source: CERN

## Slide 11: Understanding Size
1 cm
Source: CERN

## Slide 12: Understanding Size
100 mm
Source: CERN

## Slide 13: Understanding Size
10 mm
Source: CERN

## Slide 14: Understanding Size
1 mm
Source: CERN

## Slide 15: Understanding Size
100 nm
Source: CERN

## Slide 16: Understanding Size
10 nm
Source: CERN

## Slide 17: Understanding Size
1 nm
Source: CERN

## Slide 18: Macro to Nano

## Slide 19: Education
State of the art electron microscopes available to graduate student research and undergraduate classes
Almost all possible methods of electron microscopy can be taught and utilized on these devices
Training
  so the more specialized instruments at ORNL can be used effectively

## Slide 20
Transmission Electron Microscope
Complimentary capabilities to ORNL
  monochromator and cryogenic tomography
Biological and polymer materials a strong research focus at UT
Hybrid materials
  characterization of combination's of soft and solid materials is ideally suited for this instruments

## Slide 21
Focused Ion Beam
Nano-machining
Electron microscope sample preparation
Electrical and mechanical testing
Hydra

## Slide 23
Unit Cell: The smallest unit of a crystal

## Slide 24
Seeing atoms
No

## Slide 25
Seeing atoms
No,
just atomic columns

## Slide 26
Seeing atoms
No,
just atomic columns
viewed
edge
on

## Slide 28
One layer with significant Ge reduction as transition layer.
Just one layer of Si2+ before stochiometric SiO2.
This is consistent with atomically abrupt interface.
Ge/SiO2 Interface
0
5
10
0
1
2
nm
SiO2
Ge
3

## Slide 29
Single Silicon atoms on graphene

## Slide 30
1 nm
NB
1 nm
NB
Single Layer - Boron Nitride

## Slide 31: Counting Point Defects in CVD-Grown BN
Perfect Atom Sites | N Vacancies | B Vacancies | N Antisites | B Antisites
303,874 | 68 | 276 | 228 | 53
0.5 nm

## Slide 32: Summary
Many Instruments
Many Techniques
Many Possibilities
Use the cool TEMs in your neighborhood.
It is fun !